WOOD-ALUMINIUM DOOR CONSTRUCTION

batimet TA35 DSP

Formal Design and Construction Requirements

Wood-aluminium doors and wood-metal composite doors under the terms of this specification are designs whereby the outer side is covered by a metal profile. They have a material composition of wood and metal. The profiles arranged on the room side are laminates. The wood profiles take up the forces of horizontal traffic loads, wind loads, fill-ins, hardware etc. and distribute these forces accordingly. The metal profiles prevent direct weathering of the wood. Fixing of the aluminium frame to the wood frame is by means of rotatable and detachable clip holders in high quality temperature-resistant synthetic materials. Tension-free expansion of the diverse materials is guaranteed. The metal profiles are formed with a through-going ventilation and drainage system.

Wood Construction

The wood construction is carried out in conformity with the requirements of DIN 68121. Sashes and fixed glazing are carried out with screwed-on glass strips. Insulating glass edge seal is inserted into the wood rebate on both sides. Grooves in the wood profile for the insertion of the aluminium profiles are not permitted.

Aluminium-Rahmen

Frame profile and sash profile form a flush surface plane. Between glass and sash profile there is an offset of 15 mm depth.The elevation of the visible sash profile is 100 mm and it runs straight and perpendicular to the glass level. The sash profile can be wider in the case of certain static requirements. Drainage of the rebate area is by means of concealed punch holes in the bottom profile crosspiece of the frame. Optionally, there can be visible drainage with a cover cap.

The corner joints of the aluminium frames are welded.

Seals

The blind frame has an all-round factory made seal in high quality TPE or EPDM between the wood frame and wood sash. Where greater driving rain can be expected, an additional seal can be mounted at the bottom between aluminium frame and aluminium sash.

Glazing on the outside is carried out with an all-round outside APTK or EPDM glazing seal. Wedge seals are used as external glazing seals in special fixed glazing models. Internally, dry glazing is used with APTK or EPDM seals in graduated sealing thicknesses. The system can be in the form of wet glazing either outside or inside.

Surface Coating Aluminium

Coating is carried out in conformity with the valid quality guidelines of the coating of building parts in aluminium of GSB-International GSB AL 631, or QUALICOAT regulations. RAL or DB colour is to be used according to the wishes of the Principal. For anodised surfaces, the corner joints of the aluminium frames are carried out mechanically.

Surface Coating Wood

Surface treatment of the wooden parts is carried out according to the type of wood used, the chosen coating system, and the expected stress to the surface. If no dry layer thicknesses are specified, then the minimum dry layer thicknesses are those of German regulations as follows:

> 30 µm on surfaces to which there is no access and on primed windows

> 50 µm in the area of the building structure connection

> 80 µm for varnish coatings

>100 µm for cover coatings

This also applies to all surfaces beneath metal profiles and sheets which according to the design are not made as water-transfer planes. All other surfaces require full layer thickness for the final treatment. Suitability of other coating systems and layer thicknesses which are based on a reduced climate-related stress factor on wood-metal windows must be documented.

Requirements for the Construction

The following properties and classifications are required as prescribed by the product norms for windows DIN EN 14351-1:

Profile system: batimet TA35 DSP

Wood types laminated: (please select) spruce/ pine/ oak/ hemlock/ Douglas fir

DIN EN 12207 Air permeability Class 4

DIN EN 12208 Driving rain resistance Class 9A

DIN EN 12210 Resistance at wind force Class C4

Sash Width: up to 3.000mm

Sash Height: up to 3.000mm

Sash Weight: up to 200 kg as lift-slide, up to 300 kg as only sliding sash

Inward opening direction with barrier free threshold profile according to DIN 18040-1

DIN 18008-4 TRAV Fall protection: Category A

#### To be provided by the principal

#### DIN EN ISO 10077-2 Thermal Transmittance Value: 	Uw _____ W/m²K

#### DIN EN ISO 140-3 Noise Control: 			Rw _____ dB

#### DIN EN 1627 Burglar Resistance: 			RC_____